| Project Name (Office Use Only) |  | File Number (Office Use Only) |
| --- | --- | --- |

OKLAHOMA STATE FIRE MARSHAL

2401 NW 23rd, St., Suite 4, Oklahoma City, OK  73107,

Phone (405) 522-5005

Fax (405) 522-5028

Building Plans Processing Checklist

The following is a list of what is required for all new plan submittals, any information that is not provided will result in the plans being returned to the party submitting them:

(Applicant Use)								               (Office Use)

Completed Letter of Building Application, All Fields Filled In.

(required for initial submittal and resubmittals)

Code Analysis (Adopted Codes, Type of Construction, Square Footage

Occupant Load, Allowances, Fire Protection, OUBCC Changes)

Site Plan (Fire Department Access Roads, Fire Hydrants,

Buildings within 30’ of the primary building, Hydrology

Permit-Needed Fire Flow from DEQ)

Life Safety Plan (egress, location of rated walls, rated barriers,

rated partitions, draft stopping, egress, fire extinguishers,

occupant load per room, alternatives approved, directives

applied, load bearing walls)

Building Elevation Plan (Building Height, Floor Elevations,

Roof Slope, Dead loads within 10’ of the edge of the building)

Building Layout showing (Fire Dampers, Emergency Lights,

Exit Signs-Inside and Outside, Fixture Locations and Number)

One CD-R computer disc containing all drawings and specifications

Two sets of signed and sealed paper plans to include: Site Plan; Life Safety

Plan; Building Layout showing Mechanical, Electrical, and Plumbing;

Building Elevation Plan

Payment of Plan Review Fee (Check, PO Issued, Credit Card)