Emergency Sewer Repair on Elmwood Ave. (North of Main St.)

July 10, 2024

Background

The City of Evanston has contracted National Power Rodding (NPR) to perform Cured-In-Place-Pipe (CIPP) lining work throughout Evanston. On Monday, July 8th, the contractor was installing a sewer liner on Elmwood Avenue, north of Main Street, when the liner unexpectedly collapsed and failed. Over the next 24 hours multiple attempts were made to remove the liner that were ultimately not successful. Bypass pumps have been set up in the meantime to prevent the sewer from backing up, with crews on-site 24-hours a day ready to address any issues. The City has worked with the contractor and devised a plan to remove the liner by excavating to the sewer and removing it from the pipeline.

Recovery Work Details

Contractors are preparing to excavate a portion of Elmwood Ave to gain access to the affected sewer. Preparatory work is beginning on Wednesday, July 10th, with excavation beginning on Thursday, July 11th.  Work is expected to be completed by the end of day Friday, July 12th., with final restoration to be completed by Friday, July 26th pending contractor availability.  On Thursday, July 11th and Friday, July 12th , Elmwood Ave. will be closed to thru traffic, but will remain open to local traffic. In addition, street parking on Elmwood will be restricted in the area surrounding the excavation. No impact to sewer service is expected at this time.

Questions or Concerns

This project will be monitored by the City’s Capital Planning & Engineering Bureau. If you have any questions or concerns, please do not hesitate to contact James Knuth, Civil Engineer II at (847) 448-8280 or jknuth@cityofevanston.org. If you have an emergency, such as the sewer connection backing up, please contact Evanston 311 by calling or texting (847) 448-4311.