**STAGE I VAPOR RECOVERY COMPONENTS APPROVED FOR USE IN THE ST. LOUIS OZONE NON-ATTAINMENT AREA**

**Pressure Vacuum Vent**

* Husky 5885
* FFS P/V Zero
* Husky 4885

**Spill Container**

* EMCO A1004EVR
* Phil-Tite 85000 Series
* EBW Defender 705 Series
* EBW 7054401X (lid)
* Phil-Tite PP-1005 TB Debris bucket
* Phil-Tite 85011\* Spill Container Lid
* EBW 7XX-49Y-0Z
* OPW 1-2100 Series
* OPW 1-3100 Series
* OPW 1-2200 Series
* EBW 90087 Upgrade Kit (product)
* EBW 90088 Upgrade kit (vapor)
* CNI CON1-31103
* CNI CON2-31103
* 205P - Product Assembly
* 205V - Vapor Assembly
* 214P - Product Assembly
* 214V - Vapor Assembly
* CNI Mfg. GAC Gravity Cover
* CNI Mfg. STP-200 Snap Tight Cover
* CNI Mfg. STP-39 Snap Tight Cover Ring

**Drop Tube (components)**

* OPW 61T (various lengths)
* OPW 61T-SS (various lengths)
* EBW 782-204-3X2
* FFS 70550901EC (Drop tube Riser clamp)
* EMCO Model A0020EVR-X
* EMCO Model A0020EVRC-X
* CNI Mfg. DT100 (various lengths)
* CNI Mfg. DT101 Drop Tube O Ring (original)
* CNI Mfg. RP101 Drop Tube O Ring (replacement)
* EMCO Wheaton Retail Drop Tube O Ring 569461

**Drop Tube w/ Overfill Prevention Device**

* OPW 61SO, 400C, 410C & 420C
* OPW 61SOM-412C-EVR
* OPW 71SO
* OPW 71SO Testable
* OPW 71SOM-412C (GAS/E85)
* EBW 708 49X 1Y (Gas)
* EBW 708-49X-3Y (Gas/E85)
* Phil Tite 61SO-PT (Gas)
* EMCO Model A1100EVR-X
* EBW 90079 Drop Tube Isolation Test Kit

**Vapor Adaptors**

* Phil-Tite SWV-101-B (Gas)
* Phil-Tite SWV-101-SS (Gas/E85)
* OPW 61VSA-MA
* EMCO Model A0076-124S
* Emco Wheaton Retail A0076-124

**Product Adaptors**

* OPW 61SALP-1020-EVR
* Phil-Tite SWV -100-B
* Phil-Tite SWV -100-SS
* EMCO A0030-124S

**Vapor/Product Dust Caps**

* OPW 634TT-EVR (product) (GAS/E85)
* OPW 1711T-EVR (vapor)
* OPW 634LPC (product)
* OPW 1711LPC (vapor)
* EBW 777-201-02 (product)
* EBW 777-202-02 (product)
* EBW 304 301 XX (vapor)
* EBW 304-200-XX (vapor)
* CompX CSP1-634LPC
* CompX CSP3-1711LPC (vapor)
* CompX CSP2-634LPC (product)
* CompX CSP4-1711LPC (vapor)
* Morrison Brothers 323C-0100ACEVR (vapor)
* Morrison Brothers 305C-0100ACEVR (product)
* EMCO MODEL A0097-005 (product)
* EMCO Model A0099-X (vapor)
* CNI Mfg. 64 (product)
* CNI Mfg. 611-VR-3 (vapor)
* CNI Mfg. 65 Dust Cap Gasket
* CNI Mfg. RP65 (Dust cap gasket replacement)

**Face Seal Adaptor**

* OPW FSA-400
* OPW FSA-400-S

**Jack Screw Assembly**

* OPW 61JSK-4series (-4410 tested)
* OPW 71JSK-44MA
* OPW 71JSK-4RMT

**Ball Float**

* OPW 53VML-series (-1020 & -3050 tested)

**Extractor Valve**

* OPW 233-series

**Riser Components**

* Phil-Tite M/F 4X4
* Phil-Tite M/F 4X4-R
* Phil Tite M 1600 (Riser Support Bracket)
* Phil-Tite M-6050 Riser Offset
* EMCO Model 494096

**Tank Gauge (in tank probe cap & adaptor)**

* EBW 90037
* OPW 62M
* Veeder-Root 312020-952 (cap and adaptor kit)
* Morrison Brothers 305XPA1100AKEVR (cap and adaptor kit)
* Morrison Brothers 305-0200AAEVR (replacement adaptor)
* Morrison Brothers 305XP-110ACEVR (replacement cap)
* EMCO Model A0097-010 (Cap)
* EMCO Model A0030-014 (Adaptor)
* CNI Mfg. 613BC set (Cap 64, Adaptor 613)

**Tank Bottom Protector**

* PHIL-TITE TBP-3516 (optional)
* OPW/POMECO 6111-1400-EVR (optional)

**Drain Valve**

* EBW 70533729
* EMCO Model 494118
* EBW 705-337-19
* OPW 1DK-2100
* OPW 1DP-2100 Drain Plug Kit
* Phil-Tite 85400
* EBW 90089 Drain Valve Security Blank Kit
* EBW 708-255-01 DrainValve Isolation Kit
* CNI Mfg. RP12-Push

**Spill Container Liner**

* Diversified Products Manufacturing (DPM)